## Slide 1: T-508 (ESTB) Tests of Shaslyk Calorimeter Modules from HERA-B
Dr. Edward Brash
Christopher Newport University and Jefferson Lab

## Slide 2: Purpose
The aim of these tests is to measure the position and energy resolution of a number of “Shaslyk” lead-scintillator sandwich type calorimeters which we have on loan from DESY. These modules were used in the HERA-B calorimeter.
We are evaluating these modules to ascertain if they are adequate for use in an upcoming experiment at Jefferson Lab.

## Slide 3: Arrangement of Calorimeter Modules

## Slide 4: Current Status

## Slide 5: 3 GeV Beam

## Slide 6: 3 GeV Beam

## Slide 7: 3 GeV Beam

## Slide 8: 3 GeV Beam